## Sheet1
Energy Storage Owner Information Collection Form
No. | Survey content | Servey status | Remark
1 | Project Brief Introduction
1.1 | The name of the project
1.2 | Project Location | □domestic □Oversea (fill in the place name)：
1.3 | Application scenarios | □Power generation side □Grid side □User side
1.4 | The type of project | □energy storage □Solar energy storage
2 | Electricity usage information
2.1 | System access points | □high Voltage □Low voltage Voltage value： V Frequency value： Hz
2.2 | Transformer capacity | kVA
2.3 | Transformer margin | kVA
2.4 | Mode of operation | □Pure ON-grid □Pure off-grid □On-OF-Grid（Switching time： ms）
2.5 | The type of load | □Industrial loads □Agricultural load □Electricity load for daily life
2.6 | The size of the load | Max Power kW ， Average Power kW
2.7 | The period during which the load runs | □All Day □Fixed Time（ : - : ）
2.8 | How long the load runs | Average per day Hours ， Average Per Year Days
2.9 | Electricity bill | Please provide a bill for the last one year
2.10 | Power distribution system topology | Please provide a topology diagram of the primary and secondary power distribution
3 | Configuration requirements
3.1 | Project size | Energy storage systems kW kWh；photovoltaic 0 kW；
3.2 | Scenario type | □Containerized solution □Outdoor all-in-one cabinet solution □Interior scheme
3.3 | PCS Power and quantity | ① kW Unit；② kW Unit；
3.4 | PCS Other requirements |  | Fill in when the customer has a request, and do not need to fill in if there is no request.
3.5 | Battery capacity and quantity | ① kWh Kits；② kWh Kits；
3.6 | Battery charge and discharge rate and the number of cycles | C Charge； C Discharge；Cycle Times | The energy storage manufacturer is self-determined
3.7 | Battery Brand |  | Fill in when the customer has a request, and do not need to fill in if there is no request.
3.8 | Battery Other Requirements |  | Fill in when the customer has a request, and do not need to fill in if there is no request.
4 | Photovoltaic power generation index requirements
4.1 | Type and number of components | □Single crystal silicon □Polysilicon Power： Wp ；Amount： Pcs
4.2 | inverter Power and quantity | Power： kW ；Amount： Pcs
4.3 | Photovoltaic power generation Other requirements |  | Fill in when the customer has a request, and do not need to fill in if there is no request.
5 | Energy management system
5.1 | System Requirements: | □Regular □Third Party Provision □Customized (please fill in the specific requirements) | What's the difference
5.2 | Specific needs |  | Customized requirements only
6 | Fire protection system
6.1 | Type of fire protection system | □automatic □Manual (fire extinguisher)
6.2 | Type of fire extinguishing system | □Heptafluoropropane gas fire extinguishing system □Foam fire extinguishing system
6.3 | Fire extinguishing system Other requirements |  | Fill in when the customer has a request, and do not need to fill in if there is no request.